## Slide 1
Proposed Device
Analysis of the Device
Experiments
We propose a compact photometric stereo system with a light ring of radius and a camera placed at the center of the ring seeking to sense a scene whose depthis significantly larger than , and
characterize the system’s performance.
Reference
Ondrej Drbohlav and Mike Chantler, "On optimal light configurations in photometric stereo." ICCV 2005
Contributions
We provide a specific dependence of the error on system parameters like
radius of the light ring (error )
the number of lights (error )
variance of measurement noise (error )
the mismatch between real depth
and light calibrated depth
This allows us to study the impact of various design factors on the system’s performance
tradeoff between camera quality/price (𝜎),
compactness (𝑟), acquisition time (𝑛), and power (𝑛)
prediction of the range of the depth where error is tolerable
confidence map of the system’s performance
Scene depth
Scene point
height
Radius of the light ring
Sensing model
A Lambertian scene point P at the location with a surface normal and diffuse albedo shows an intensity under a point light source at the location as:
Given () different lightings, we have
, where
In the presence of measurement noise
- noise term, random variable (noise is i.i.d. with mean 0 and variance )
Estimation of :
In the presence of calibration error
Camera assumes scene point at depth is at light calibrated depth .
Estimation of :
LED
Camera
40 mm
lights
can be computed as
Error evaluation:
Error expectation:
Error expectation:
- light matrix of point
- light matrix of point
- random variable, uniformly distributed in all directions
Real depth
Light calibrated
depth
The decrease in accuracy is gradual on
each side of the light calibrated depth,
so there exists a range where error is
tolerable.
Hardware prototype
Light calibration method
Checkerboard
is rotated.
We obtain the light vector from a light to
a location by varying the orientation of a
planar checkerboard and imaging it under
the light’s illumination.
(a) One of the input
(b) Surface normal map
(c) Integrated surface
Results of human scene (1m X 0.7m)
deviates from
(due to measurement noise)
(due to depth mismatch)
then differs from the ground truth
In reality
When we have both errors, the expected error is simply linear combination of the two.
- intensity measurements, obtained from camera captured photos (known)
- light matrix including light directions and light intensities which
can be calibrated (known)
- albedo-scaled surface normal (unknown)
Photometric Stereo with Small Angular Variations
Jian Wang1, Yasuyuki Matsuhita2, Boxin Shi3, Aswin C. Sankaranarayanan1
1Carnegie Mellon Univ., 2Osaka Univ., 3Singapore Univ. of Technology and Design